## Slide 2: Introduction

## Slide 3: Steger’s Algorithm

## Slide 4: B.1
Image sequence and test images for the project were obtained

## Slide 5: B.2- Characterizing fluorescence image background noise
We cropped background samples from the image sequence.
We then tested the distribution of values in each background, using kstest in matlab (B.2.1).
Each, and every, image had a background that, with a p-value of less than .05, was significantly close in distribution to a Normal distribution.

## Slide 6: B.2- Continued
Because the noise had a normal distribution, it could not be white noise
We then compared the background between every 2 adjacent images in the image sequence, to see if the background distribution changed over time. (B.2.2)
Roughly 40 pairs of adjacent images had significantly different background distributionsd

## Slide 7: Plot of Background Standard Deviation over Time

## Slide 8: Plot of Background Mean over Time

## Slide 9: B.2- Continued
Took the first image and compared several samples of the background to determine if the distribution of values is specially uniform(B.2.3)
Took 5 cropped samples of the background and compared these sets of pixels with kstest2
All comparisons were significant.